CLEANING THE ARIDUS.

If your blanks are high it may be that the Aridus is getting dirty.  The spray chamber may have desiccated sample in it (see picture) and/or the semi-permeable membrane may be dirty.  This means that it will require cleaning.

The Aridus cleaning equipment and instructions can be found in the prep lab, in the top draw to the left of the door to the plasma lab.

It is a simple procedure but please see Richard Ash before starting, as the instruction book does not cover the modifications we have made to the Aridus.